## Smart Lighting Config & Control
Category | Event Type | Sample Payload
Lighting Zones | SmartLighting/setLightingZone | { "SenderId": "SmartLighting-reza-207989-01010001", "SensorId": "SmartLighting-reza-207989-01010001", "Resourcepath": 207989, "EventId": "EV-207987-01010001-20260504075115504", "EventType": "SmartLighting/setLightingZone", "Parameters": { "NumberOfZone": 1, "LightingZones": [ { "ZoneId": 1 } ], "CommandType": "Set", "ConfigurationZone": 0, "Transmission": "Unicast" } }
Lighting Zones | SmartLighting/getLightingZone | "{ "SenderId": "SmartLighting-reza-207989-01010001 ", "SensorId": "SmartLighting-reza-207989-01010001", "Resourcepath": 902355, "EventId": "EV-902355-S-20260319141443233", "EventType": ""SmartLighting/getLightingZone", "Parameters": { "CommandType": "Get", "Transmission"": "Unicast" } }"
Trigger Zones | SmartLighting/getTriggerZone | "{ "SenderId": "SmartLighting-reza-207989-01010001", "SensorId": "SmartLighting-reza-207989-01010001", "Resourcepath": 902355, "EventId": "EV-902355-S-20260319141443233", "EventType": "SmartLighting/getTriggerZone", "Parameters": { "CommandType": "Get", "Transmission": "Unicast" } }"
Trigger Zones | SmartLighting/setTriggerZone | { "SenderId": "SmartLighting-reza-207989-01010001", "SensorId": "SmartLighting-reza-207989-01010001", "Resourcepath": 207989, "EventId": "EV-207987-01010001-20260504075115570", "EventType": "SmartLighting/setTriggerZone", "Parameters": { "NumberOfZone": 1, "TriggerZones": [ { "ZoneId": 1 } ], "CommandType": "Set", "ConfigurationZone": 0, "Transmission": "Unicast" } }
Lighting Configuration | SmartLighting/getLightOverride | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061315818", "EventType": "SmartLighting/getLightOverride", "Parameters": { "CommandType": "Get" } }
Lighting Configuration | SmartLighting/setLightOverride | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504060924211", "EventType": "SmartLighting/setLightOverride", "Parameters": { "LightingControl": "Auto", "FailsafeDelay": 10, "CommandType": "Set", "ConfigurationZone": 0, "Transmission": "Broadcast" } }
Lighting Configuration | SmartLighting/getLightIntensity | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-reza-207989-01010003", "Resourcepath": 207989, "EventId": "EV-207987-01010003-20260504074349701", "EventType": "SmartLighting/getLightIntensity", "Parameters": { "CommandType": "Get" } }
Lighting Configuration | SmartLighting/setLightIntensity | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-reza-207989-01010003", "Resourcepath": 207989, "EventId": "EV-207987-01010003-20260504074220784", "EventType": "SmartLighting/setLightIntensity", "Parameters": { "DimIntensity": 40, "BrightIntensity": 80, "CommandType": "Set", "ConfigurationZone": 0, "Transmission": "Unicast" } }
Lighting Configuration | SmartLighting/getSoftDimming | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061613326", "EventType": "SmartLighting/getSoftDimming", "Parameters": { "CommandType": "Get" } }
Lighting Configuration | SmartLighting/setSoftDimming | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061503218", "EventType": "SmartLighting/setSoftDimming", "Parameters": { "RampUpTime": 2, "RampDownTime": 2, "CommandType": "Set", "ConfigurationZone": 0, "Transmission": "Broadcast" } }
Lighting Configuration | SmartLighting/getTimeDelay | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061740456", "EventType": "SmartLighting/getTimeDelay", "Parameters": { "CommandType": "Get" } }
Lighting Configuration | SmartLighting/setTimeDelay | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061706597", "EventType": "SmartLighting/setTimeDelay", "Parameters": { "HoldTime": 60, "CommandType": "Set", "ConfigurationZone": 0, "Transmission": "Broadcast" } }
Lighting Configuration | SmartLighting/getLightInstallDate | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061706597", "EventType": "SmartLighting/getLightInstallDate", "Parameters": { "CommandType": "Get", "Transmission": "Unicast" } }
Lighting Configuration | SmartLighting/setLightInstallDate | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061706597", "EventType": "SmartLighting/setLightInstallDate", "Parameters": { "CommandType": "Set", "Transmission": "Unicast", "ConfigurationZone": 0, "InstallDate": "19-03-2026" } }
Sensor Configuration | SmartLighting/getMotionSensitivity | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-reza-207989-01010003", "Resourcepath": 207989, "EventId": "EV-207987-01010003-20260504074552967", "EventType": "SmartLighting/getMotionSensitivity", "Parameters": { "CommandType": "Get" } }
Sensor Configuration | SmartLighting/setMotionSensitivity | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-reza-207989-01010003", "Resourcepath": 207989, "EventId": "EV-207987-01010003-20260504074510731", "EventType": "SmartLighting/setMotionSensitivity", "Parameters": { "MotionSensitivity": 1, "CommandType": "Set", "ConfigurationZone": 0, "Transmission": "Unicast" } }
Sensor Configuration | SmartLighting/getPhotoSensing | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-reza-207989-01010003", "Resourcepath": 207989, "EventId": "EV-207987-01010003-20260504074738437", "EventType": "SmartLighting/getPhotoSensing", "Parameters": { "CommandType": "Get" } }
Sensor Configuration | SmartLighting/setPhotoSensing | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-reza-207989-01010003", "Resourcepath": 207989, "EventId": "EV-207987-01010003-20260504074649966", "EventType": "SmartLighting/setPhotoSensing", "Parameters": { "PhotoUpperThreshold": 600, "PhotoLowerThreshold": 500, "PhotoSensing": "Enable", "CommandType": "Set", "ConfigurationZone": 0, "Transmission": "Unicast" } }
Sensor Configuration | SmartLighting/getRainSensing | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-reza-207989-01010003", "Resourcepath": 207989, "EventId": "EV-207987-01010003-20260504074738437", "EventType": "SmartLighting/getRainSensing", "Parameters": { "CommandType": "Get" } }
Sensor Configuration | SmartLighting/setRainSensing | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-reza-207989-01010003", "Resourcepath": 207989, "EventId": "EV-207987-01010003-20260504074649966", "EventType": "SmartLighting/setRainSensing", "Parameters": { "RainUpperThreshold": 30, "RainLowerThreshold": 5, "RainSensing": "Enable", "CommandType": "Set", "ConfigurationZone": 0, "Transmission": "Unicast" } }
Proximity Lighting | SmartLighting/getProximityLighting | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061706597", "EventType": "SmartLighting/getProximityLighting", "Parameters": { "CommandType": "Get", "Transmission": "Unicast" } }
Proximity Lighting | SmartLighting/setProximityLighting | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061706597", "EventType": "SmartLighting/setProximityLighting", "Parameters": { "CommandType": "Set", "Transmission": "Unicast", "LightingControl": "Enable", "SaveNodeSetting": "Yes", "NumberOfNeighbourNode": 3 } }
Predictive Lighting | SmartLighting/getPredictiveLighting | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061706597", "EventType": "SmartLighting/getPredictiveLighting", "Parameters": { "CommandType": "Get", "Transmission": "Unicast" } }
Predictive Lighting | SmartLighting/setPredictiveLighting | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061706597", "EventType": "SmartLighting/setPredictiveLighting", "Parameters": { "CommandType": "Set", "Transmission": "Unicast", "ConfigurationZone": 0, "LightingControl": "Enable" } }
Timer Profiles | SmartLighting/getTimerProfile | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504062537335", "EventType": "SmartLighting/getTimerProfile", "Parameters": { "CommandType": "Get" } }
Timer Profiles | SmartLighting/setTimerProfile | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061706597" "EventType": "SmartLighting/setTimerProfile", "Parameters": { "CommandType": "Set", "Transmission": "Unicast", "ConfigurationZone": 0, "ProfileControl": "Enable", "RepeatAction": 10, "NumberOfProfile": 2, "TimerProfiles": [ { "ZoneId": 1, "StartTime": "07:00", "EndTime": "19:00", "DayOfWeek": "Everyday", "Action": "Force_Off" }, { "ZoneId": 1, "StartTime": "19:00", "EndTime": "07:00", "DayOfWeek": "Everyday", "Action": "Auto" } ] } }
Dimming Profiles | SmartLighting/getDimmingProfile | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061706597" "EventType": "SmartLighting/getDimmingProfile", "Parameters": { "CommandType": "Get", "Transmission": "Unicast" } }
Dimming Profiles | SmartLighting/setDimmingProfile | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504062106560", "EventType": "SmartLighting/setDimmingProfile", "Parameters": { "ProfileControl": "Enable", "RepeatAction": 0, "NumberOfProfile": 2, "DimmingProfiles": [ { "ZoneId": 255, "StartTime": "11:50", "EndTime": "23:50", "DayOfWeek": "Everyday", "DimLevel": 12, "BrightLevel": 70 }, { "ZoneId": 255, "StartTime": "11:55", "EndTime": "23:55", "DayOfWeek": "Weekday", "DimLevel": 22, "BrightLevel": 66 } ], "CommandType": "Set", "ConfigurationZone": 0, "Transmission": "Unicast" } }
Luminance Profiles | SmartLighting/getLuminanceProfile | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061706597" "EventType": "SmartLighting/getLuminanceProfile", "Parameters": { "CommandType": "Get", "Transmission": "Unicast" } }
Luminance Profiles | SmartLighting/setLuminanceProfile | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061706597" "EventType": "SmartLighting/setLuminanceProfile", "Parameters": { "CommandType": "Set", "Transmission": "Unicast", "ConfigurationZone": 0, "ProfileControl": "Enable", "RepeatAction": 1, "NumberOfProfile": 2, "LuminanceProfiles": [ { "ZoneId": 1, "StartDate": "01-01-2026", "EndDate": "31-12-2026", "LuminanceLevel": 80 }, { "ZoneId": 1, "StartDate": "01-01-2027", "EndDate": "31-12-2027", "LuminanceLevel": 85 } ] } }
Daylight Profile | SmartLighting/getDaylightProfile | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504062426441", "EventType": "SmartLighting/getDaylightProfile", "Parameters": { "CommandType": "Get" } }
Daylight Profile | SmartLighting/setDaylightProfile | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504062105402", "EventType": "SmartLighting/setDaylightProfile", "Parameters": { "ProfileControl": "Enable", "RepeatAction": 0, "ZoneId": 255, "StartTime": "11:50", "EndTime": "23:50", "DimAction": "Auto", "BrightAction": "Auto", "PhotoSensor1": null, "PhotoSensor2": null, "PhotoSensor3": null, "DimThreshold": 200, "BrightThreshold": 400, "CommandType": "Set", "ConfigurationZone": 0, "Transmission": "Unicast" } }
Daylight Harvesting Profile | SmartLighting/getDaylightHarvestingProfile | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061706597" "EventType": "SmartLighting/getDaylightHarvestingProfile", "Parameters": { "CommandType": "Get", "Transmission": "Unicast" } }
Daylight Harvesting Profile | SmartLighting/setDaylightHarvestingProfile | { "SenderId": "Backend-600123-00", "SensorId": "SmartLighting-A4XX785242242HGFGFJH124554X-G", "Resourcepath": 207987, "EventId": "EV-207987-G-20260504061706597" "EventType": "SmartLighting/setDaylightHarvestingProfile", "Parameters": { "CommandType": "Set", "Transmission": "Unicast", "ConfigurationZone": 0, "ProfileControl": "Enable", "RepeatAction": 10, "OverallZone": 0, "StartTime": "07:00", "EndTime": "19:00", "DayOfWeek": "Weekday", "DaylightThreshold": 500, "MinLuminanceLevel": 20, "MaxLuminanceLevel": 90 } }